## Exercise 1
n | 150 |  | These values are given in the text.
Average | 1.25 | hours
St. deviation | 0.41 | hours
p | 0.98
(p+1)/2 | 0.99
lambda | 2.3263 |  | Since the standard deviation is known, we calculate λ from the Standard Normal distribution
a | 0.077878 |  | The result of the measurement: | The drying time of the paint is 1.25 +/- 0.08 hours at the significance level of p=98%.
The drying time of an oil paint was investigated. n = 150 observations were made, the average drying time was 1.25 hours. The standard deviation is known to be 0.41 hours.
Calculate the result of the measurement using the average and the confidence limits at the significance level of 98%!
Konfidence interval, known standard deviation.
The centre of the confidence interval is the average (AVERGE)
The radius of the confidence interval is
Here
=NORM.S.INV((p+1)/2)
is the standard deviation
is the number of measurements
p is the significance level, given.
Konfidence interval, known standard deviation.
The centre of the confidence interval is the average (AVERGE)
The radius of the confidence interval is
𝑎=𝜆 𝜎/√𝑛
Here
𝜆=NORM.S.INV((p+1)/2)
𝜎 is the standard deviation
𝑛 is the number of measurements
p is the significance level, given.

## Exercise 2
No. | Filling weights [kg] | Average | 1.5205
1 | 1.52 | Sample st. deviation | 0.089525
2 | 1.61 | n | 20
3 | 1.46 | p | 0.95 | %
4 | 1.49
5 | 1.51 | lambda Student | 2.093
6 | 1.6
7 | 1.48 | a | 0.041899 |  | The result of the measurement: |  |  | The weight of a detergent is 1.52 +/- 0.04 kg.
8 | 1.42
9 | 1.32
10 | 1.7 | h = ( 2%) | 0.03041 |  | n | lambda_st | a
11 | 1.54 |  |  |  | 21 | 2.086 | 0.040751
12 | 1.43 |  |  |  | 25 | 2.0639 | 0.036954
13 | 1.56 |  |  |  | 30 | 2.0452 | 0.033429
14 | 1.47 |  |  |  | 35 | 2.0322 | 0.030753
15 | 1.68 |  |  |  | 36 | 2.0301 | 0.030291 |  | --> at least n=36 measurements are required to go below the 2% relative error
16 | 1.44 |  |  |  | 37 | 2.0281 | 0.029849
17 | 1.6 |  |  |  | 38 | 2.0262 | 0.029426
18 | 1.59 |  |  |  | 39 | 2.0244 | 0.029021
19 | 1.49
20 | 1.5
The filling weights of a detergent were measured using a direct measurement method.
The results of the measurement are included in the table below.
a.) Calculate the results of the measurement using the average and the confidence interval at a significance level of 95%!
b.) Let us assume that the calculated sample standard deviation is constant with the increasing numbers of the measurement. How many measurements are required to reduce the relative error below 2%?
Konfidence interval, unknown standard deviation.
The centre of the confidence interval is the average (AVERGE)
The radius of the confidence interval is
Here
=T.INV.2T(1-p;n-1)
is the sample standard deviation (STDEV.S)
is the number of measurements
p is the significance level, given.
Konfidence interval, unknown standard deviation.
The centre of the confidence interval is the average (AVERGE)
The radius of the confidence interval is
𝑎=𝜆_𝑠𝑡 𝑠^∗/√𝑛
Here
𝜆_𝑠𝑡=T.INV.2T(1-p;n-1)
𝑠^∗ is the sample standard deviation (STDEV.S)
𝑛 is the number of measurements
p is the significance level, given.
This is the 2% of the average. We want the radius to be smaller than this number.
If we assume that stays the same, how many measurements are need to be made to go below this value?
This is the 2% of the average. We want the radius to be smaller than this number.
If we assume that 𝑠^∗ stays the same, how many measurements are need to be made to go below this value?

## Exercise 3
ρ | 1000 | kg/m^3
∆ρ | 15
σρ | 7.5
d | 0.2 | m
∆d | 0.0005
σd | 0.00025
h | 0.2 | m
∆h | 0.001
σh | 0.0005
m | 6.2832 | kg | This is the average value
|  |  |  | σm | 0.052097 | kg
|  |  |  | ∆m | 0.10419 | kg
Result: | The weight of the fluid in the cylinder is m = 6.28 +/- 0.1 kg
A fluid with a density of 1000±15 kg/m3 is filled into a cylindrical container. The diameter of the cylinder is 200±0.5 mm, the height 200±1 mm. Calculate the absolute error of the fluid mass! (The absolute error is two times the standard deviation)
= PI()
𝑚=𝜌𝑉=𝜌 (𝑑^2 𝜋)/4 ℎ
𝜋 = PI()
𝜎_𝑚=𝑚√((2 𝜎_𝑑/𝑑)^2+(𝜎_ℎ/ℎ)^2+(𝜎_𝜌/𝜌)^2 )
Δm=2𝜎_𝑚

## Exercise 4 (optional)
U | V
∆U | V | q/k | 11923
T | K
∆T | K
The current flowing through a diode can be calculated as follows:
The temperature (T) of the diode is 310 K, with a systematic error of 5 K. The cut-in voltage is 0.4 Volt with a systematic error of 0.005 Volt. "k" is the Boltzmann constant, q is a given constant. Calculate the relative error of the current! Which systematic error has greater effect in the resulting error?
The current flowing through a diode can be calculated as follows:
𝐼=(𝑒^(𝑞𝑈/𝑘𝑇)−1)
The temperature (T) of the diode is 310 K, with a systematic error of 5 K. The cut-in voltage is 0.4 Volt with a systematic error of 0.005 Volt. "k" is the Boltzmann constant, q is a given constant. Calculate the relative error of the current! Which systematic error has greater effect in the resulting error?